## Sheet1
|  | EXISTING |  | UPGRADED
LOCATION | FIXTURES | GPM PER | COMBINED | GPM PER | COMBINED | GPM | % WATER
|  | FIXTURE | FLOW RATE | FIXTURE | FLOW RATE | SAVED | SAVINGS
|  |  | (GPM) |  | (GPM)
CAMPUS CENTER BATHROOMS
1st Floor | 4 Lav Faucets | 0.5 | 2 | 0.5 | 2 | 0 | 0%
2nd Floor | 3 Lav Faucets - No Aerator* | 5 | 15 | 0.5 | 1.5 | 13.5 | 90%
| 4 Lav Faucets* | 2.2 | 8.8 | 0.5 | 2 | 6.8 | 77.27%
Total | Total Fixtures: 11 |  | 25.8 |  | 5.5 | 20.3 | 78.68%
CAMPUS CENTER KITCHEN
Room #108 | 1 Hand Sink Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
| 1 Pre-Rinse Faucet** | 1.5 | 1.5 | 1 | 1 | 0.5 | 33.33%
| 2 Pot Sink Faucets | 2.2 | 4.4 | 2.2 | 4.4 | 0 | 0%
| 1 Pot Sink Faucet - No Aerator* | 6.5 | 6.5 | 2.2 | 2.2 | 4.3 | 66.15%
Total | Total Fixtures: 5 |  | 14.6 |  | 8.1 | 6.5 | 44.52%
Room #203 | 1 Hand Sink Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
| 1 Single Compartment Pot Sink Faucet | 2.2 | 2.2 | 2.2 | 2.2 | 0 | 0%
| 1 Three Compartment Pot Sink Faucet | 2.2 | 2.2 | 2.2 | 2.2 | 0 | 0%
Total | Total Fixtures: 3 |  | 6.6 |  | 4.9 | 1.7 | 25.76%
Room #207 | 1 Pre-Rinse Faucet** | 1.5 | 1.5 | 1 | 1 | 0.5 | 33.33%
| 1 Pot Sink Faucet | 2.2 | 2.2 | 2.2 | 2.2 | 0 | 0%
| 2 Pot Sink Faucets - No Aerator* | 7.0 | 14 | 2.2 | 4.4 | 9.6 | 68.57%
| 1 Pot Filler Faucet | 7.0 | 7 | 7 | 7 | 0 | 0%
| 1 Hand Sink Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
| 4 Steam Table Faucets* | 5.0 | 20 | 0.5 | 2 | 18 | 90%
| 3 Prep Sink Faucets | 2.2 | 6.6 | 2.2 | 6.6 | 0 | 0%
Total | Total Fixtures: 13 |  | 53.5 |  | 23.7 | 29.8 | 55.7%
CAMPUS CENTER KITCHEN (Continued)
JSB Café & John Dunn | 2 Pre-Rinse Faucets** | 1.5 | 3 | 1 | 2 | 1 | 33.33%
Gourmet Dining Room | 2 Hand Sink Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
| 2 Hand Sink Faucets - No Aerator* | 7.0 | 14 | 0.5 | 1 | 13 | 92.86%
| 2 Pot Sink Faucets | 2.2 | 4.4 | 2.2 | 4.4 | 0 | 0%
| 1 Pot Sink Faucet - No Aerator* | 7.0 | 7 | 2.2 | 2.2 | 4.8 | 68.57%
Total | Total Fixtures: 9 |  | 32.8 |  | 10.6 | 22.2 | 67.68%
PHYSICAL SCIENCES BUILDING
Room #PS-116 | 5 Lab Faucets | 1.0 | 5 | 1 | 5 | 0 | 0%
| 7 Lab Faucets - No Aerator/Serrated Nozzle* | 7.5 | 52.5 | 1 | 7 | 45.5 | 86.67%
| 2 Hand Sink Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
Total | Total Fixtures: 14 |  | 61.9 |  | 13 | 48.9 | 79%
Room #PS-117 | 5 Lab Faucets | 1.0 | 5 | 1 | 5 | 0 | 0%
| 7 Lab Faucets - No Aerator/Serrated Nozzle* | 6.5 | 45.5 | 1 | 7 | 38.5 | 84.62%
| 3 Hand Sink Faucets* | 2.2 | 6.6 | 0.5 | 1.5 | 5.1 | 77.27%
| 1 Hot/Cold Lab Faucet* | 7.5 | 7.5 | 0.5 | 0.5 | 7 | 93.33%
Total | Total Fixtures: 16 |  | 64.6 |  | 14 | 50.6 | 78.33%
Room #PS-214 | 26 Lab Faucets - No Aerator/Serrated Nozzle* | 7.5 | 195 | 1 | 26 | 169 | 86.67%
| 2 Hand Sink Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
Total | Total Fixtures: 28 |  | 199.4 |  | 27 | 172.4 | 86.46%
Room #PS-219 | 16 Lab Faucets | 1.0 | 16 | 1 | 16 | 0 | 0%
| 4 Lab Faucets - No Aerator/Serrated Nozzle* | 7.5 | 30 | 0.5 | 2 | 28 | 93.33%
| 4 Hand Sink Faucets* | 2.2 | 8.8 | 0.5 | 2 | 6.8 | 77.27%
Total | Total Fixtures: 24 |  | 54.8 |  | 20 | 34.8 | 63.5%
STUDENT SERVICES BUILDING
| 11 Lav Faucets | 0.5 | 5.5 | 0.5 | 5.5 | 0 | 0%
| 3 Lav Faucets* | 2.2 | 6.6 | 0.5 | 1.5 | 5.1 | 77.27%
| 1 Kitchen Sink Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
| 3 Clinic Sink Faucets* | 2.2 | 6.6 | 0.5 | 1.5 | 5.1 | 77.27%
Total | Total Fixtures: 18 |  | 20.9 |  | 9 | 6.8 | 56.94%
ADMIN. BUILDING
| 6 Lavatory Faucets | 0.5 | 3 | 0.5 | 3 | 0 | 0%
| 4 Lavatory Faucets* | 2.2 | 8.8 | 0.5 | 2 | 6.8 | 77.27%
Total | Total Fixtures: 10 |  | 11.8 |  | 5 | 6.8 | 57.63%
HEALTH TECHNOLOGIES
Room #A277 | 8 Hand Wash Faucets* | 2.2 | 17.6 | 0.5 | 4 | 13.6 | 77.27%
Total | Total Fixtures: 8 |  | 17.6 |  | 4 | 13.6 | 77.27%
EBS BUILDING
1st, 2nd & 3rd Floor Restrooms | 12 Lavatory Faucets* | 2.2 | 26.4 | 0.5 | 6 | 20.4 | 77.27%
Total | Total Fixtures: 12 |  | 26.4 |  | 6 | 20.4 | 77.27%
1st Floor Classrooms, Greenhouse
& Shop Room #103 | 8 Faucets* | 7.0 | 56 | 0.5 | 4 | 52 | 92.86%
Total | Total Fixtures: 8 |  | 56 |  | 4 | 52 | 92.86%
EBS BUILDING (Continued)
2nd Floor Classrooms | 4 Faucets* | 2.2 | 8.8 | 0.5 | 2 | 6.8 | 77.27%
| 12 Faucets - No Aerator* | 7.5 | 90 | 0.5 | 6 | 84 | 93.33%
| 1 Faucet - No Aerator** | 7.5 | 7.5 | 1 | 1 | 6.5 | 86.67%
| 6 Faucets - Serrated Nozzle | 1.0 | 6 | 1 | 6 | 0 | 0%
Total | Total Fixtures: 23 |  | 112.3 |  | 15 | 90.8 | 86.64%
3rd Floor Classrooms | 2 Faucets - No Aerator* | 7.5 | 15 | 0.5 | 1 | 14 | 93.33%
| 18 Faucets w/Serrated | 1.0 | 18 | 1 | 18 | 0 | 0%
Total | Total Fixtures: 20 |  | 33 |  | 19 | 14 | 42.42%
GYMNASIUM
Men's Locker Room | 3 Lav Faucets* | 2.2 | 6.6 | 0.5 | 1.5 | 5.1 | 77.27%
| 4 Lav Faucets - Low Flow Aerators | 0.5 | 2 | 0.5 | 2 | 0 | 0%
| 1 Lav Faucet - No Aerator* | 5 | 5 | 0.5 | 0.5 | 4.5 | 90%
| 50 Shower Heads*** | 2.5 | 125 | 1.5 | 75 | 50 | 40%
Total | Total Fixtures: 58 |  | 138.6 |  | 79 | 59.6 | 43%
Room #PE-109 | 1 Laundry Sink Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 1 |  | 2.2 |  | 0.5 | 1.7 | 77.27%
Athletic Training Room | 1 Hand Sink Faucet - No Aerator* | 7.0 | 7 | 0.5 | 0.5 | 6.5 | 92.86%
| 1 Mop Sink Faucet - No Aerator | 7.0 | 7 | 7 | 7 | 0 | 0%
| 1 Training Room Faucet - No Aerator | 7.0 | 7 | 7 | 7 | 0 | 0%
Total | Total Fixtures: 3 |  | 21 |  | 14.5 | 6.5 | 30.95%
Coach's Locker Room | 1 Lav Faucet-No Aerator* | 5.0 | 5 | 0.5 | 0.5 | 4.5 | 90%
| 2 Shower Heads** | 2.5 | 5 | 1.5 | 3 | 2 | 40%
| 1 Open Spout - No Shower Head* | 7.0 | 7 | 1.5 | 1.53 | 5.47 | 78.14%
Total | Total Fixtures: 4 |  | 17 |  | 5.03 | 11.97 | 70.41%
1st Floor Women's Restroom | 1 Lav Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 1 |  | 2.2 |  | 0.5 | 1.7 | 77.27%
GYMNASIUM (Continued)
2nd Floor Women's Athletic
Team Room | 2 Lav Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
| 18 Shower Heads** | 2.5 | 45 | 1.5 | 27 | 18 | 40%
Total | Total Fixtures: 20 |  | 49.4 |  | 28 | 21.4 | 43.32%
2nd Floor Women's Restroom | 5 Lav Faucets* | 2.2 | 11 | 0.5 | 2.5 | 8.5 | 77.27%
Total | Total Fixtures: 5 |  | 11 |  | 2.5 | 8.5 | 77.27%
2nd Floor Men's Restroom | 4 Lav Faucets* | 2.2 | 8.8 | 0.5 | 2 | 6.8 | 77.27%
| 1 Open Spout* | 5.0 | 5 | 0.5 | 0.5 | 4.5 | 90%
Total | Total Fixtures: 5 |  | 13.8 |  | 2.5 | 11.3 | 81.88%
Women's Locker Room #207 | 42 Shower Heads** | 2.5 | 105 | 1.5 | 63 | 42 | 40%
| 15 Shower Heads - Vandal Proof *** | 2.5 | 37.5 | 1.5 | 22.5 | 15 | 40%
Total | Total Fixtures: 57 |  | 142.5 |  | 85.5 | 57 | 40%
Faculty/Staff Locker Room #208 | 1 Lav Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
| 6 Shower Heads** | 2.5 | 15 | 1.5 | 9 | 6 | 40%
Total | Total Fixtures: 7 |  | 17.2 |  | 9.5 | 7.7 | 44.77%
STADIUM
Upper Men's Restroom | 4 Lav Faucets* | 2.2 | 8.8 | 0.5 | 2 | 6.8 | 77.27%
Total | Total Fixtures: 4 |  | 8.8 |  | 2 | 6.8 | 77.27%
Upper Women's Restroom | 5 Lav Faucets* | 2.2 | 11 | 0.5 | 2.5 | 8.5 | 77.27%
Total | Total Fixtures: 5 |  | 11 |  | 2.5 | 8.5 | 77.27%
LCPC Confrence Room #1 | 1 Hand Wash Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 1 |  | 2.2 |  | 0.5 | 1.7 | 77.27%
LCPC Confrence Room #3 | 1 Hand Wash Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 1 |  | 2.2 |  | 0.5 | 1.7 | 77.27%
BOOKSTORE
Women's Restroom | 2 Lav Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
Total | Total Fixtures: 2 |  | 4.4 |  | 1 | 3.4 | 77.27%
Men's Restroom | 2 Lav Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
Total | Total Fixtures: 2 |  | 4.4 |  | 1 | 3.4 | 77.27%
HUMANITIES
Sculpture Classroom #104 | 1 Hand Wash Sink* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 1 |  | 2.2 |  | 0.5 | 1.7 | 77.27%
Ceramics Classroom #107 | 3 Open Spouts* | 7.0 | 21 | 2.2 | 6.6 | 14.4 | 68.57%
| 1 Faucets | 2.2 | 2.2 | 2.2 | 2.2 | 0 | 0%
| 1 Hand Wash Sink* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 5 |  | 25.4 |  | 9.3 | 16.1 | 63.39%
Screen Printing Classroom #112 | 2 Hand Wash Sinks* | 7.0 | 14 | 0.5 | 1 | 13 | 92.86%
Total | Total Fixtures: 2 |  | 14 |  | 1 | 13 | 92.86%
Gallery Office #203 | 1 Hand Wash Sink** | 6.5 | 6.5 | 0.5 | 0.5 | 6 | 92.31%
Total | Total Fixtures: 1 |  | 6.5 |  | 0.5 | 6 | 92.31%
Painting Studio #204 | 2 Hand Wash Sinks* | 7 | 14 | 0.5 | 1 | 13 | 92.86%
Total | Total Fixtures: 2 |  | 14 |  | 1 | 13 | 92.86%
Painting Studio #220 | 2 Hand Wash Sinks* | 7 | 14 | 0.5 | 1 | 13 | 92.86%
Total | Total Fixtures: 2 |  | 14 |  | 1 | 13 | 92.86%
Color Art Studio #221 | 2 Hand Wash Sinks* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
Total | Total Fixtures: 2 |  | 4.4 |  | 1 | 3.4 | 77.27%
Support Area #300B | 1 Hand Wash Sink** | 5 | 5 | 0.5 | 0.5 | 4.5 | 90%
Total | Total Fixtures: 1 |  | 5 |  | 0.5 | 4.5 | 90%
HUMANITIES (Continued)
3rd Floor Men's Restrrom | 2 Lav Faucets* | 2.2 | 4.4 | 0.5 | 1 | 3.4 | 77.27%
Total | Total Fixtures: 2 |  | 4.4 |  | 1 | 3.4 | 77.27%
3rd Floor Women's Restroom | 1 Lav Faucet* | 2.2 | 2.2 | 0.5 | 0.5 | 1.7 | 77.27%
Total | Total Fixtures: 1 |  | 2.2 |  | 0.5 | 1.7 | 77.27%
GRAND TOTAL | Total Fixtures: 417 |  | 1332 |  | 440.13 | 891.87 | 66.96%
NOTES:
The second floor men's and women's restrooms in the Admin. Building had recently been remodeled, so the water savings was not as
significant for this building.
The Occupational Education Building restrooms had already been upgraded to low flow faucets, so there was no change in consumption.